| **Test Name** | Timer settings are disabled while the pump is in action. |
| --- | --- |
| **Use Case Tested:** |  |
| **Test Description:** | This test ensures the changes made due to sponsor feedback operate correctly. Timer settings should not be able to be adjusted while the pump has requested on |
| **Pre-conditions** | * Pump not running * Manual On/Off is set to OFF |
| **Post-conditions** | * Pump requested on * Timer Settings disabled |
| **Notes:** | This test ensures the changes made due to sponsor feedback operate correctly. |

|  | **TEST STEP** | **EXPECTED TEST RESULTS** |
| --- | --- | --- |
|  | Issue a pump on command with the Manual On/Off switch | Pump switch should display On  Timer Setting Controls should be disabled |

**Results:**

**Success** Timer controls greyed out and unable to be changed

