| **Test Name** | Timer settings are enabled while the pump is off |
| --- | --- |
| **Use Case Tested:** |  |
| **Test Description:** | This test ensures the changes made due to sponsor feedback operate correctly. Timer settings should be able to be adjusted while the pump is offf |
| **Pre-conditions** | * Pump not running * Manual On/Off is set to On |
| **Post-conditions** | * Pump requested Off * Timer Settings enabled |
| **Notes:** | This test ensures the changes made due to sponsor feedback operate correctly. |

|  | **TEST STEP** | **EXPECTED TEST RESULTS** |
| --- | --- | --- |
|  | Issue a pump Off command with the Manual On/Off switch | Pump switch should display Off  Timer Setting Controls should be enabled |

**Results:**

**Success** Timer controls are enabled again

